## Slide 1
Profile plot
Quality control plot
Condition plot
Data Process
Visualization
Comparisons between conditions
Sample size calculation
Visualization
Visualization
Quantification
Summary report: feature, sample, missingness(warning messages)
Logarithm transformation with base 2 or 10
Normalization: bias of MS run
  Constant normalization
  Quantile normalization
  normalization using global standard proteins
Model-based run quantification
  Tukey’s median polish or linear model
  Label-based or label-free
  Censored or random missing values
  Imputation by accelerated failure model or not
Heatmap
Volcano plot
Comparison plot
Lists of adjusted p-values fitted with a variety of models
  Multiple comparisons
Sample size calculation: # of biological replicates according to FDR and CV
Power calculation
Sample quantification
Group quantification
dataProcess
dataProcessPlots
groupComparison
groupComparisonPlots
designSampleSize
designSampleSizePlots
quantification
Explanatory
data analysis:
(pre-analysis)
Model-based
analysis:
(testing)
Design of
a future experiment
Model-based
Analysis:
(quantification)
modelBasedQCPlots
Visualization
Residual plot
Normal quantile-quantile plot